## 1200
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION |  | UNIT | QTY | RATE | AMOUNT
1200 |  | GENERAL REQUIREMENTS AND PROVISION
B12.01 |  | Provision for a Community Liaison Officer
|  | (a) | Provisional sum for the payment and training of the Community Liaison Officer | Prov Sum | 1 | 19500 | 19500
|  | (b) | Handling cost and profit in respect of subitem B12.01(a) | % | 19500
B12.02 |  | Provision for cost of attending Steering Committee meetings
|  | (a) | Provisional sum for the payment of travel cost incurred by Steering Committee members for attending Steering Committee meetings | Prov Sum | 1 | 4375 | 4375
|  | (b) | Handling cost and profit in respect of subitem B12.02(a) | % | 4375
B12.03 |  | Construction works nameboard |  | No | 1
B12.04 |  | Training
|  | (a) | Provision for Generic skills | Prov Sum | 1 | 50000 | Rate only
|  | (b) | Provision for Technical skills | Prov Sum | 1 | 50000 | Rate only
B12.05 |  | PROVISSIONAL SUM STATED BY THE ENGINEERS
|  | (a) | Provision for closing ceremony | Prov Sum | 1 | 30000 | 30000
|  | (b) | Provision for Geotechnical Investigation | Prov Sum | 1 | 32500 | 32500
|  | (c) | Provision for Topographical Survey | Prov Sum | 1 | 15000 | 15000
|  | (d) | Provision for Enviromental Impact Assessment | Prov Sum | 1 | 26875 | 26875
|  | (e) | Provision for Compensation to Landowners | Prov Sum | 1 | 30000 | 30000
|  | (f) | Provision for SHE Rep | Prov Sum | 1 | 14500 | 14500
|  | (g) | Handling cost and profit in respect of subitem B12.05 (a-f) | % | 148875
TOTAL CARRIED FORWARD TO SUMMARY

## 1300
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION |  | UNIT | QTY | RATE | AMOUNT
1300 |  | CONTRACTOR'S ESTABLISHMENT ON SITE AND GENERAL OBLIGATIONS
B13.01 |  | The Contractor's general obligations:
|  | (a) | Fixed obligations | L/Sum | 1
|  | (c) | Time-related obligations | Month | 4
NOTE:
The combined total tendered for subitems B13.01 (a), (b) and (c) shall not exceed 15% of the Tender Sum, (excluding VAT).
B.13.02 |  | Occupational Health & Safety
(a) |  | Preparation of Health & Safety Plan |  | L.Sum | 1
(b) |  | Compilation of a Risk Assessment prior to
|  | commencement of Construction. |  | L.Sum | 1
(c) | LI | Health & safety induction training of employees |  | L.Sum | 1
(d) | LI | Compilation and keeping up with date the Health & Safety
file which shall include all documentation required
in terms of the Act including COVID 19 . Implementation of the
|  | health and Safety plan over the entire construction period |  | Month | 4
( e) |  | Personal Protective Equipment for EPWP labour force
|  | i) | Providing the required Personal Protective Equipment for EPWP labour force: Your rate to include all below item and profit for EPWP labour force: Targeted minimum a) Overalls b) Gloves c) Dust Masks d) Ear Protection e) Hard Hats f) Reflective Vests g) Steel toe capped safety boots h) Other identified in the risk assessment | No | 20
TOTAL CARRIED FORWARD TO SUMMARY

## Building Works
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BUILDING WORKS
FOUNDATION
PREAMBLES
For preambles see "Specifications of material and methods to be used - PW371
SUPPLEMENTRY PREAMBLES
Site clearance
1 | LIC | Removing rubbish, debris, vegetation, hedges, shrubs, digging up and grub large trees not exceeding 200mm girth, bush etc | m² | 350
EXCAVATION, FILLING ETC
Excavation in earth not exceeding 2m deep
2 | LIC | Trenches | m³ | 55
Extra ovewr trench and hole excavation in earth for excavation in:
3 | LIC | Soft rock | m³ | 11
4 | LIC | Hard rock | m³ | 8.25
Filling etc.
5 |  | Backfilling from the excavations to trenches and holes compacted to 90% modified aashto density | m³ | 45
6 |  | Earth filling from the excavations to under floors, steps, pavings, etc compact | m³ | 112.5
7 |  | Imported earth filling supplied by the Contractor and brought onto site, under | m³ | 112.5 |  | Rate Only
Keeping excavations free of water
8 | LIC | Keeping excavation free of all water other than subterranean water | m³ | 55
Prescribed density test on filling
9 | LIC | "Modified AASHTO Density" test | no | 4
COMPACTION
10 | LIC | To bottom and sides of trenches etc | m² | 110
SOIL POISONING
11 | LIC | Underfloors etc including forming and poisoning shallow furrow against foundation wall etc, filling in furrows and ramming | m² | 225
REINFORCEMENT
Steel bar reinforcement to structural concrete work
1 | LIC | a) In footings | ton | 3
| LIC | b) Mesh Ref 193 | m² | 238 |  | Rate Only
CONCRETE
1 | LIC | Blinding layer - 75mm thick (20 Mpa) | m³ | 20.4
TOTAL CARRIED FORWARD
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
TOTAL BROUGHT FORWARD
25MPa /19mm concrete
2 | LIC | In footings to walls cast against excavated surfaces, stepped and levelled | m³ | 17
3 | LIC | Cast in slab mass concrete | m³ | 15
4 | LIC | Apron around the builsing on slab including formwork and finiching | m³ | 5
5 | LIC | Ramps | m³ | 2
BRICKWORK IN FOUNDATION
1 | LIC | Brickworks | m² | 122
COMPACTION
1 | LIC | Compaction of the surface bed | m² | 225
TEST CUBES
|  | Allow for preparing a set of three concrete strength test cubes, each size 150 x 150 x 150mm, sending them to an approved Testing laboratory for testing and paying all charges in connection therewith | Sets | 4
TOTAL CARRIED FORWARD TO SECTION SUMMARY
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
SUPERSTRUCTURE
BRICKWORK (NFP)
Brickwork of NFP bricks in class II mortar
1 | LIC | Two brick wall | m² | 323
2 | LIC | One brick wall | m² | 134
WATER PROOFING
For preambles see "Specifications of material and methods to be used - PW371"
DAMP-PROOFING OF WALLS AND FLOORS
One layer of 375 micro " Consol plastics Brikgrip DPC" embossed damp proof course In walls
1 | LIC | PVC damp course 114 SABS Black | no | 2
2 | LIC | PVC damp course 228 SABS Black | no | 3
3 | LIC | under surface beds,ramps: 250 Micro Consol plastic gunplas USB GREEN (Water proof membrane sealed at laps by gunplas pressure | m² | 238
BRICKWORK SUNDRIES
Brickwork reinforcement
1 | LIC | Brick force 2.8X75mm 20MT SABS | m | 500
2 | LIC | Brick force 2.8 X 150mm 20M SABS | m | 1180
3 | LIC | 115mm Wide reinforcement built in horinzotally (internal) | m | 2000
4 | LIC | 150mm Wide reinforcement built in horizontally (external) | m | 2000
5 | LIC | 10mm Expansion joint around the perimeter filled by treated bitumen impregnanted softboard | m | 200
6 | LIC | 100mm steel float concrete surface bed casted on bays of not more than 3000mm. | m² | 238 |  | Rate Only
BRICKWORK
1 | LIC | Windows sills sloping and slightly projecting outside | m | 65
2 | LIC | Brick lintels on 230mm brick wall | m | 30
3 | LIC | Brick lintels on 110mm brick wall | m | 14
Masonry Plastering
4 | LIC | Mortar for plastering(internal & external for the whole building) | m² | 742
CONCRETE IN SUNDRIES
Finishing top surface of concrete rough with a wood float
5 | LIC | Surface beds, slabs, etc to falls | m² | 225
TOTAL CARRIED FORWARD TO SECTION SUMMARY
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  | TOTAL BROUGHT FORWARD |  |  |  | 0
ROUGH FORMWORK (DEGREE OF ACCURACY III)
Rough Formwork to sides:
6 | LIC | Edges, risers, ends and reveals not exceeding 300mm high or wide (class F2 rough) | m | 20 |  | Rate Only
MOVEMENTS JOINTS ETC
Expansion joints with bitumen impregnated softboard between vertical concrete and brick surfaces
7 | LIC | 15mm Joints not exceeding 300mm high | m | 20 |  | Rate Only
TOTAL CARRIED FORWARD TO SECTION SUMMARY
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PLUMBING AND DRAINAGE
PREAMBLES
For preambles see "Specification of material and methods to be used- PW371"
| LIC | PLUMBING
1 |  | Provide plumbing complete with fitings (bends, inspection eyes, gate valves and chambers) and finishes and connection to Septic tank system (external) | Sum | 1
2 |  | Supply and install complete WC with class “A’ heavy duty toilet seats and fittings to water and waste . | no | 1
3 |  | Supply and install complete paraplegic WC with class “A’ heavy duty toilet seats and fittings to water, waste and grab rails | no | 4
4 |  | Supply and install "Ferreiras" or similar approved wash hand basins complete with pedestal water fittings and waste fittings, plugs, traps and connect to waste pipe | no | 7
5 |  | Supply and install complete SS Deb sink 1200 x 460 dominox D/IN with all fittings | no | 1
6 |  | Supply and install Urinal flat back white shanks with flush Master Complete | no | 2
7 |  | Supply and install Bath white 1700 chanel with handles complete with fittings and Taps | no | 1
8 |  | Supply and connect to cold water 15mm "Cobra" type taps to wash hand basins | no | 4
9 |  | Supply and connect to cold and Hot water 15mm "Cobra" type Bath Mixer taps to Bath room | no | 1
10 |  | Supply and connect to cold and Hot water 15mm "Cobra" type Zink Mixer taps to Kitchen room | no | 1
11 |  | 9kg Fire Extingusher | no | 1
12 |  | f) Kwikot 250 Litre Megaflo "i" Dual electric water heater (Code : MF150-D2-2A-I) complying with SABS 151-2002, overall size 1075 x 530 x 530mm high fitted with isolator switch, operating at 600kPa with temperature and pressure control valve including 20mm female draincock with inlet compression. Geyser to be installed horizontally in roof space with 1560 x 560mm polyethylene drip tray (Code : GSTP-1650) and 22mm pipe work including two 22mm vacuum breakers (Code : KH4.200CX) installed on hot and cold water supply. Installation to include a 22mm 600kPa Kwikot Mono pressure control valve (Code : KH3.116), all in accordance with SANS 10254, connected to single phase electrical power supply. | no | 1
13 |  | Supply and install SABS appoved Toilet roll holder | no | 5
TOTAL CARRIED FORWARD TO SECTION SUMMARY
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
ELECTRICAL WORK INSTALLATION
1 |  | Allow provissional sum amount for the all the Electrical Instalation | PC Sum | 1 | 60000 | 60000
2 |  | Handling cost and profit in respect of subitem 1 above | % | 60000
3 | LIC | Eskom electrical connection | P/Sum | 1 | 40000 | 40000
3 |  | Handling cost and profit in respect of subitem 3 above | % | 40000
TOTAL CARRIED FORWARD TO SECTION SUMMARY
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
METALWORK
PREAMBLES
For preambles see "Specification of material and methods to be used- PW371"
DOORS and WINDOWS
STEEL WINDOWS
Standard residential windows
1 |  | C2F H/Duty window NTY or simillar | no | 3
2 |  | C7 H/D window frame NTY or simillar | no | 12
3 |  | E1 H/D window frame NTY or simillar | no | 7
PRESSED STEEL DOORS FRAMES
1.2MM Rebated frames suitable for one brick walls
1 |  | MER Door F/L F/B 1613 x 2100 | no | 1 |  | Rate Only
2 |  | MER Door F/L F/B 813 x 1219 | no | 1 |  | Rate Only
3 |  | Door 1613 x 2100 x 230 1.6 mm NTY | no | 1
4 |  | Steel Door frame 813 x 2100 x 230 1.6mm | no | 7 |  | Rate Only
5 |  | Steel Door frame 813 x 2100 x 115 3 10R/H & 3L/H | no | 18
6 |  | Door solid 914 x 2100 Masonite | no | 11
7 |  | H/C Mesonite Door 813 x 2100 | no | 10
BUTTLERS
Supply and install bugler doors:
1 |  | On Steel Door frame 813 x 2100 x 230 1.6mm | no | 18
2 |  | On Steel of a mimum sizes of atleast 1022mm |  | 15
3 |  | On Steel of a mimum sizes of atleast 900 mm |  | 1
4 |  | On Steel of a mimum sizes of atleast 533mm |  | 6
IRONMOGERY
PREAMBLES
For preambles see "Specification of material and methods to be used- PW371"
LOCKS
"Approved"
1 |  | DCLSA Naples 2levers lockset SABS | no | 21
TOTAL CARRIED FORWARD TO SECTION SUMMARY
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
TOTAL BROUGHT FORWARD
ROOF MATERIAL
ROOF TRUSSES
| LIC | Pre-fabricated metal connected timber roof trusses
All trusses shall be fabricated by an approved truss manufactureer who hold a current cerificate of Competence awarded by the insitution for timber Construction
Descriptions of Pre-fabricated timber roof trusses
Descriptions of trusses shall be deemed to include all necessary splays cut ends,mitres,joining,wrought and shape ends,Connections,bolts,cleats,gussets and timber connectors,plate connectors, clips etc.
Tendered rates must make provission for the aforesaid as no additional claims in this regards will afterwards be entertained
Timber
Timber for trusses to be South African softwood and shall be in accordance with the grades as defined is SANS specification
Bolts
Bolts shall be in accordance with BS 4190 OR SABS 135
Shear plates,tooth connectors and split rings
Shear plates,tooth connectors and split rings shall be inaccordance with BS 1759:1960 and installed in accordance with the CSIR publication HOUT 468," The Design , Manufacturing and Erection of Timber trusses"
Truss Design
All trusses must be designed a registered proffessional Engineer ("Design of Timber structures").
Truss Loading
The design shall include for all live loads, wind loads and dead loads imposed
Workshop drawing,design and erection Certificate
It shall be excpected of the Contractor to submit the necessary workshop drawing,design and erection certificates and obtain neceray approval in this respect
1 |  | Construction/Installation of roof trusses complete,aluminium foil insulation etc | Sum | 1
ROOF COVERING
PROFILED METAL SHEETING AND ACCESSORIES
Straight cutting
Descriptions of all roof coverings are deemed to include for all straight cutting
Note The Contractor is to submit a design and Erection certificate signed by a competent person
TOTAL CARRIED FORWARD TO SECTION SUMMARY
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23 |  |  |  | PRELIMINARY COST ESTIMATE
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
TOTAL BROUGHT FORWARD
0.6mm "Klip-Lok Light Industrial" galvanised troughed sheet steel with "Global coat " finish one side, fixed to roof members as described complete under a five year huarantee by an approved firm of specialist, all in accordance with the materials supplied and methods employed by the Manufacture.
1 |  | Roof covering with pitch no exceeding 25 degrees fixed to timber purlins complete with all required falshings | m2 | 268
|  | Technicrete or simillar Double Roman | no | 3200 |  | Rate Only
|  | Technicrete Tapered Ridge | no | 192 |  | Rate Only
|  | Technicrete Hip Starters | no | 8 |  | Rate Only
|  | Oxide | no | 6 |  | Rate Only
TOTAL CARRIED FORWARD TO SECTION SUMMARY
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
CEILINGS, PARTITION AND ACCESS AND FLOORING
PREAMBLES
For preambles see "Specification of material and methods to be used- PW371"
CEILINGS ETC
Sawn softwood
1 | LIC | 38 x 114 mm Ceiling joist (Provisional) | m² | 238
2 |  | Nutec Ceiling 3.6 X 1.2 X 4 mm | no | 61
3 | LIC | Skirting | m² | 238
Wrought softwood
4 |  | 19 x 76mm Cornice nailed | no | 180
NAILED UP CEILING AND SCREWED UP CEILINGS
4mm "Everite Nutec" fibre-cement boards with standard H-type pressed steel jointing strips
5 | LIC | Ceilings including 38 x 38mm sawn softwood brandering at 400mm centres | m² | 238
6 | LIC | Sloping ceilings including 38 x 38mm sawn softwood brandering at 400mm centres. | m² |  |  | Rate only
7 |  | Extra over ceiling for opening for 610 x 610mm trap door of 50 x 76mm wrought softwood rebated framing with one 38 x 38mm sawn softwood cross brander covered with ceiling board and fitted flush in opening. | no | 4
TILING
Supply and install Ceramic tiling (to SABS specification) on floors, toilets and kitchen
1 | LIC | Floor Tilling (300x300) | m² | 225
2 |  | Wall Tilling (150x150) | m² | 83
TOTAL CARRIED FORWARD TO SECTION SUMMARY
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PAINTWORK
PREAMBLES
For preambles see "Specification of material and methods to be used- PW371"
PAINTWORK ETC TO NEW WORK
ON FIBRE CEMENT
One acrylic filler coat and two coats polyacrylic emulsion paint:
1 | LIC | On ceilings | m² | 238
ON METAL
Spot priming defects in pre-primed surfaces with zinc chromate primer and applying one undercoat and two alkyd enamel paint on steel:
2 | LIC | On door frames | m² | 6
3 | LIC | On windows | m² | 5
4 | LIC | On gates, grillers, burglar screen, balustrades etc (both side measured over the full flat area) | m² | 7
ON WOOD
5 | LIC | On doors | m² | 35
6 | LIC | On skirting, rails etc not exceeding 300mm girth | m | 300
ON WALLS
7 | LIC | Supply paint and paint walls with two coats Plascon Expression (colours to be confirmed) | m² | 742
TOTAL CARRIED FORWARD TO SECTION SUMMARY
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
GLAZING
PREAMBLES
For preambles see "Specification of material and methods to be used- PW371"
GLAZING WITH PUTTY
4mm Clear float glass
1 | LIC | Panes exceeding 0.1 m² and not exceeding 0.5m² | m² | 30
4mm Rough cast glass
2 | LIC | Panes exceeding 0.1 m² and not exceeding 0.5m² | m² | 7
Finish
|  | Provision for Plaque | no | 1
TOTAL CARRIED FORWARD TO SECTION SUMMARY
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
Bill No |  | SECTION SUMMARY | Pg No |  |  | Amount
Building Works
1 |  | Foundation | 1
2 |  | Super structure | 3
6 |  | Plumbing and drainage | 5
7 |  | Electrical work | 6
8 |  | Metalwork | 10
9 |  | Roof Material | 11
10 |  | Ceiling, Partitioning and access flooring | 13
11 |  | Paintwork | 14
12 |  | Glazing | 15
TOTAL CARRIED FORWARD TO SUMMARY
Note on F462: 1.45m high Tiled

## FURNITURE
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC |  | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
AB006 |  | FURNITURE
1 |  | OFFICE EQUIPMENTS
|  | Chairs |  | No | 10
|  | Tables |  | No | 4
|  | Cupboards |  | No | 3
|  | 2000 litres Regrigerater |  | No | 1
|  | Kitchen Built-in cupboard complete as per layout |  | Sum | 1
|  | Four plate Defy stove |  | No. | 1
2 |  | CHILDREN FURNITURE
|  | Chairs |  | No | 65
|  | Tables |  | No | 40
|  | Charts |  | No | 15
|  | Toys |  | Sum | 1
|  | Green and black boards |  | No | 2
|  | Water proof Kids Matresses |  | No | 30
TOTAL CARRIED FORWARD TO SUMMARY

## Palisade Fence Gate
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
FENCING
AB002 |  | WELDED MESH FENCE
B1.01 | LIC | Supply to erect the fence with all sundries as details specified in drawing (BM06/22/23/TD/10) including concrete 25 MPa. | m | 200
GATE
B1.02 |  | Supply and install gates with all sundries as specified.
| LIC | a) Main gate (BM06/22/23/TD/10). | no | 1
| LIC | b) Padestraine gate (BM06/22/23/TD/10) | no | 1
TOTAL CARRIED TO SUMMARY

## Septic Tank
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC |  | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
AB004 |  | SEPTIC TANKS
1 |  | EARTHWORKS : SEPTIC TANK
1.1 | LIC | Excavation (measured 0,5m beyond wall perimeter with 1:1,5 side slopes and 0,55m below structure invert level) and use for backfill at 90% MOD AASHTO density, around septic tank or dispose of, as ordered within 0,5km freehaul distance of septic tank site |  | m³ | 35
1.2 |  | Extra over item 12.1.1 for:
| LIC | a) | Intermediate material | m³ | 25
| LIC | b) | Hard rock excavation | m³ | 10
2 |  | EARTHWORKS : PIPE TRENCHES
2.1 | LIC | Excavate in all materials for trenches, backfill and compact, including disposal of surplus or unsuitable material for septic tank disposal drains |  | m³ | 105
3 |  | CONCRETE WORK
3.1 |  | Formwork
3.2 | LIC | Smooth off shutter horizontal, Floor slab |  | m² | 10
3.3 | LIC | Smooth off shutter horizontal, underside roof slab |  | m² | 2
3.4 | LIC | Boxed-out openings all as per drawing |  | no | 2
3.5 |  | Concrete
| LIC | a) | Blinding layer - 50mm thick in prescribed mix 15 mpa concrete below septic tank | m² | 1
| LIC | b) | Strength mix 25/19 concrete in septic tank floor, walls and roof | m³ | 3
4 |  | BUILDING WORK
Brickwork
| LIC | a) | 230mm brickwork with type FBS bricks both sides in manhole walls | m² | 25
| LIC | b) | 115mm brickwork | m² | 4
5 |  | PIPE LAYING
Supply, lay, joint and test 110DN corrugated radial rib profile, drainage & sewer pipe:
| LIC | a) | 200mm dia. Sewer pipe & manholes | m | 100
VIP TOILET
6 | LIC | Pit latrine toilet as indicated on drg BM06/22/23/TD/09 |  | Sum | 1
TOTAL CARRIED FORWARD TO SUMMARY

## Borehole
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC |  | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
AB003 |  | BOREHOLE
1 |  | DRILLING BOREHOLE
1.1 |  | Water siting, Drilling +/- 120m deep, Quality testing, fully equiping of borehole, chasings and submerdged pump (including electrical connections ,Control panel,protection against over pumping etc) |  | Sum | 1
2 |  | PVC STORAGE TANK INSTALLATIONS
2.1 |  | WATER TANK STAND
|  | Supply, install the elveted tank stand and all sundries and fittings scheduled on drawing (BM06/22/23/TD/06 and (BBM06/22/23/TD/07) |  | Sum | 1
2.2 |  | WATER TANK
|  | 10000 liters JoJo tank |  | no | 1
TOTAL CARRIED FORWARD TO SUMMARY

## jungle gym
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
ITEM | LIC |  | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
AB005 |  | INSTALLATION OF JUNGLE GYM
1 |  |  | Play Ground
(LIC) |  | Platform preparation as specified on drg BM06/22/23/TD/08 |  | m³ | 60
(LIC) |  | Supply, install the Jungle Gym and all sundries and fittings scheduled area as indicated on drawing BM06/22/23/TD/08 |  | Sum | 1
TOTAL CARRIED FORWARD TO SUMMARY

## SUMMARY
BLOUBERG LOCAL MUNICIPALITY
PROJECT NO. BM06/22/23
CONSTRUCTION OF MONGALO CRECHE
SUMMARY OF BILL OF QUANTITIES
ITEM | DESCRIPTION | AMOUNTS
1 | GENERAL REQUIREMENTS AND PROVISION | R
2 | CONTRACTOR'S ESTABLISHMENT ON SITE AND GENERAL OBLIGATIONS | R
CONTRACTOR'S ESTABLISHMENT ON SITE AND GENERAL OBLIGATIONS
3 | BUILDING WORKS | R
4 | FURNITURE | R
5 | FENCING | R
6 | SEPTIC TANKS | R
7 | INSTALLATION OF BOREHOLES, PUMP & TANKS | R
8 | INSTALLATION OF JUNGLE GYM | R
R
TENDER (CONTRACT) SUM
| 5% | R
| SUBTOTAL | R
| 15% | R
| TENDER (CONTRACT) PRICE CARRIED TO FORM OF OFFER OF ACCEPTANCE | R
Note: Tender Sum is the value of the offered total of the prices exclusive of VAT, contingencies, CPA and special materials but including contractual variations.